## ESTIMATE INQUIRY SHEET
Control Panel Specification Check Sheet
(Please fill in a check sheet for each separately positioned panel)
Taiyo Electric Co., Ltd.
Customer check | [9 empty] | Person in charge
Issued ： | . .
Changes ① | . . | [7 empty] | Received ： | . .
② | . . | Please check ☑ the relevant boxes □ | [6 empty] | Change history ① | . .
③ | . . | or write in the required items. | [6 empty] | ② | . .
④ | . . | [7 empty] | ③ | . .
[9 empty] | ④ | . .
1 Customer
2 Installation location address
3 Planned delivery date
4 Classification of use |  | □ Common use |  |  | □ Emergency use |  |  | □ Combined disaster prevention usage
(including Peak cut)
(Firefighting certified badge：□ Yes □ No)
5 Engine |  | □ Diesel | □ Gas | □ Gas turbine |  | □ Other ______________________________________
（Engine manufacturer ： ）
6 Switchboard types |  | □ Indoor self standing |  |  | □ Outdoor self standing |  | □ Built-in
□ Segmented ( segmented)
|  | □ Front maintenance |  | □ Front and rear maintenance
7 Condition of use location
| Elevation | □ Manufacturer standard (less than 1000m) |  |  |  | □ Other _____________________
| Ambient temperature | □ Manufacturer standard (-5 - 40℃) |  |  |  | □ Other _____________________
8 IP codes |  | □ Manufacturer standard (Indoor: IP2X, Outdoor: IP33) |  |  |  |  | □ IP_______
9 Cable entrance |  | □ Panel bottom |  | □ Panel top |  | □ Other ______________________________________
10 Panel exterior paint color |  | □ Manufacturer standard（Munsell 5Y7/1） |  |  |  | □ Designated color ____________________________
|  | Half gloss | Gloss
11 Presence of salt resistant paint
|  | □ Manufacturer standard (none) |  |  | □ Yes (□salt resistant □heavy duty salt resistant)
[6 empty] | Channel base processing (with zinc channel) |  |  |  | □Yes □No
12 Required materials |  | □ Engine wiring diagram |  | □ Control method |  | □ Protective device list
|  | □ Engine time schedule |  | □ Interface diagram (external signal connections)
|  | □ Operation patterns |  | □ Single line diagram |  |  | □ Auxiliary machine operation method
13 Generator rating |  | V | kVA | kW | Ｈｚ, | Hz |  | Units
（Generator manufacturer： □Taiyo Electric ・□Other company＿＿＿＿＿＿＿＿＿）
14 Operation system |  | □ Grid interconnection |  |  |  | □ Island running
（Received power scale ：0～_______________kW/4～20mA )
15 Operation in blackout/recovery
|  | □ Do not operate in blackout |  | □ Manual operation possible in long-term blackout only
□ “Not generator stopped control”
□ Black out start (automatic generator start in blackout)
□ Synchronizing operation with grid power
(Generator is stopped after synchronizing operation with grid power when grid power is recovered)
□ Soft start(inrush current protection circuit due to transformer excitation)
□ Other
16 Operation based on season
|  | □ No |  | □ Yes (contract demand kW)
17 Upper breaker |  | □ Power receiving circuit breaker (52R) |  | □ Bus tie circuit breaker (52B)
□ Generator connecting breaker (52GB)
□ Other
Breaking capacity（□ 8kA □ 12.5kA □ 20kA □ 25kA □ 31.5kA □ 40kA ）
18 Indicating instrument |  | □ Manufacturer standard (multi-meter) |  | □ 110 degree wide angle |  |  | □ 120×100 rectangle
19 Watt‐hour meter |  | □ Manufacturer standard (multi-meter) |  | □ Inductive |  | □ Electronic
|  | □ Tested | (□ordinary grade/□precision grade)
20 Handle |  | □ Outdoor panel standard |  |  | □ Indoor panel standard |  |  |  | □ Designated item
|  | (A-140-1-1 Key NO.200) |  |  | (A-51-1-1 Key NO.200)
21 Protective relay |  | □ Manufacturer standard |  | □ Inductive |  | □ Static
22 Charger (for starter) |  | □ Built-in the generator panel(10A) |  |  |  | □ Other
Starter battery (□N-type □HS-type □MSE-type) (Capacity Ah）
23 Signal to central monitoring
|  | □ Analog ( points/property) |  |  |  | □ kWh pulse signal ( kWh/P)
□ Contact ( points/property)
24 Number of auxiliary machines
|  | □ MCCB＋Mｇ ( points)/property |  |  |  | □ MCCB only ( points)/property
|  | (with control) |  |  |  | (power feed)
25 Control power supply |  | □ Manufacturer standard （DC100V provided by customer)
|  | □ Provided by customer DC V |  |  |  | □ Prepared within the panel DC V
26 Auxiliary machine power supply
□ Manufacturer standard (AC200V 3φ3W provided by the customer)
|  | □ Provided by customer AC V φ W |  |  |  | □ Prepared within the panel Transformer capacity（ kVA）
（Oil-filled/Molded）
27 Lighting power supply |  | □ Manufacturer standard ( AC100V 1φ2W provided by the customer)
|  | □ Provided by customer AC V φ W |  |  |  | □ Prepared within the panel
28 Customer specified standards/criteria
|  | □ No | □ Yes
29 Future extensions |  | □ No | □ Yes
30 Parts used |  | □ Manufacturer standard | □ Designated (Name of manufacturer: ____________)
31 Supply parts |  | □ No | □ Yes
32 Remote monitoring device
|  | □ No | □ Yes
33 Special instructions |  | □
□
□
□
□
□